## Slide 1
TEMPORALLY STRUCTURED SUPERCONTINUUM PULSES FOR HIGH AXIAL RESOLUTION IMAGING
Eugene Fouche
Dr Gurthwin Bosman
Prof Pieter Neethling

## Slide 2: CONTENTS
Motivation
Super-resolution Radar
Pulse retrieval
Custom pulse shaping
Results

## Slide 3: MOTIVATION

## Slide 4: WHY WE DO THIS
It’s interesting!
But also useful
1

## Slide 5: OPTICAL COHERENCE TOMOGRAPHY
Imaging technique
Axial scans (into the sample): Depth profile
Tile to create 2D or 3D images
2
Zheng, S. Bai, Y. Liu, P. and Ni, G. Optical coherence tomography for three-dimensional imaging in the biomedical field: a review. frontiers in Physics: Sept (9), 2021.
Human Retina

## Slide 6: CONTEXT
Bridges gap between ultrasound and confocal microscopy
Ultrasound: Large area, low-res
Confocal: High-res, small area
OCT
mm penetration depths
1-10 μm resolution
Non-invasive
Non-destructive
3
Fujimoto, J. G. and Drexler, W. Optical coherence tomography: Technology and applications. 2008. Springer.

## Slide 7: APPLICATIONS OF OCT
Ophthalmology (retinal imaging)
Cardiology (fibre based)
Dermatology
Brain imaging
Industrial applications
Non-destructive testing
Silicon wafer imaging
Additive manufacturing: real-time inspection
4
Additive manufacturing
MEMS
Coronary plaque
Mouse brain
Notes: Opthalmology: First used for retinal imaging
Cardiology: coronary arteries using fibre based OCT
Dermatology: diagnosis of skin tumours
Brain imaging (fruit flies, mice)
Control additive manufacturing through real-time inspection

## Slide 8: AXIAL RESOLUTION LIMITATIONS
Axial resolution: Depends on bandwidth, pulses with broader frequency spectrum lead to better resolution
= bandwidth
5

## Slide 9: CURRENT STATE
Large spectral bandwidth systems
Highest-resolution
Earlier disease detection
Cornea, degeneration of endothelial cells
Still limited by bandwidth of source
Can we surpass this?
Microscopy, super-resolution techniques
Radar, structured pulses
Translate to Optics?
6
R. M. Werkmeister et. al. “Ultrahigh-resolution OCT imaging of the
human cornea” , Biomed. Opt. Express, Feb 2017

## Slide 10: SUPER-RESOLUTION RADAR

## Slide 11: SUPER RESOLUTION RADAR
Range finding with RADAR (Howell et. al. 2023)
Resolution improvement scheme
Use temporally structured pulse, rather than Gaussian
Pulses have same bandwidth
Structured pulse improves achievable resolution
Improves resolution beyond conventional limit set by inverse bandwidth
Translate from radio waves to optical regime
7
Notes: In the field of Radar, many groups have worked on improving the resolution of their range finding setups.

## Slide 12: STRUCTURED PULSE SIMULATIONS
Flat side lobes, steep central region
Pulse reflects from surfaces of sample and interferes with itself
Measure resultant pulse
Define separation parameter
8

## Slide 13: SEPARATION PARAMETER
change significantly as separation distance changes
Sensitive way of probing distance
Amplitude change due to interference rather than using pulse duration
9

## Slide 14: SIMULATED RESULTS
Separation parameter as function of sample thickness
Depends on R1 and R2
R2 = 99%
R1 = 10%, 20%, 30%
Conventional limit = 6 m
Significant change for 6 m
10

## Slide 15: FROM RADAR TO VISIBLE LIGHT
Challenges when translating from radio waves to visible light
Radio waves:
Can measure amplitude and phase
Visible light: much higher frequency
Pulse duration measurements: Intensity only
Phase information lost
Pulse retrieval techniques
Retrieve amplitude and phase of E-field
11

## Slide 16: PULSE RETRIEVAL

## Slide 17: PULSE RETRIEVAL
Retrieve E-field amplitude and phase
FROG, SPIDER, MIIPS, d-scan, a-swing, FROSt
We use
Apply sequence of known transfer functions
SHS measurements
Retrieve E-field amplitude and phase (spectral domain)
12

## Slide 18: REMINDER OF PROCESS
Generate structured pulse (4f-shaper, SLM)
Illuminate sample with custom pulse
Retrieve pulse ()
Calculate S, determine distance between surfaces
13

## Slide 19: CUSTOM PULSE SHAPING

## Slide 20: EXPERIMENTAL SETUP
14

## Slide 21: CUSTOM PULSE SHAPING
Create desired pulse shape in time domain (“Target”)
FT to frequency domain
Target amplitude & phase
Known retrieved pulse amplitude & phase
Determine transfer function
15

## Slide 22: TARGET PULSE
16

## Slide 23: TRANSFER FUNCTION
17
Target and measured spectral phase

## Slide 24: RETRIEVED PULSE
18

## Slide 25: RESULTS

## Slide 26: REMINDER
19

## Slide 27: SHIFTED COPIES USING SLM
Simulate sample measurements using SLM
Apply amplitude and phase modulation on SLM to create shifted copy of a pulse
Time delay
20

## Slide 28: SHIFTED PULSE RETRIEVALS
T = 0, 10, 20 fs
21

## Slide 29: SHIFTED PULSES USING SLM
Use SLM to create shifted copies of the pulse with different delays
Corresponding Gaussian pulse has resolution of 5.8 m
Resolution = noise/sensitivity
Resolution at 5.5 m = 100 nm
50x improvement over Gaussian pulse
Simulates two equal amplitude reflectors
22

## Slide 30: SAMPLES
Two mirrors with adjustable offset: surface profilometry
Spin coated thin films: stepping stone to OCT-like measurements
23

## Slide 31: SUMMARY
Structured pulses for improved axial resolution in OCT
Create and retrieve custom pulses
SLM tests promising
Next:
  Real-world samples
  Multiple reflecting layers
  Biological samples
24

## Slide 32: Thank you Enkosi Dankie
Photo by Stefan Els
Wilhelm Frank Trust

## Slide 33: BLANK SLIDE
4

## Slide 34: EXTRA SLIDES
4

## Slide 35: SAMPLES
Spin coat thin films on mirror
Polystyrene in Toluene
Thicknesses (1-10 m)
Verify with white light interferometry
Contrast low
Rather use freestanding films
22

## Slide 36: EXPERIMENTAL SETUP
11

## Slide 37: RETRIEVED PULSE
16

## Slide 38: SHIFTED COPIES USING SLM
Apply amplitude and phase modulation on SLM to create shifted copy of a pulse
Time delay
34

## Slide 39: RESULTS: PULSE TEMPORAL PROFILE
Decrease in central peak heights for sample vs no sample
17

## Slide 40: SHIFTED PULSE RETRIEVALS
SLM simulates two reflectors
Equal amplitude
Can also simulate unequal amplitudes
Expected resolution significantly better than fs
~ factor 4 to 10, depending on ‘noise’
36

## Slide 41: RESOLUTION
Lateral and axial resolution independent
Lateral resolution: Spot size on sample (depends on beam size and setup parameters)
= centre wavelength, d = beam diameter, f = focal length of lens
Typically
Depth of focus
Decreases as lateral resolution improves
Trade-off between lateral resolution and imaging depth
11

## Slide 42: RESULTS
Change in S as distance changes
Use S to determine separation
m for standard OCT
Resolution improvement metrics
Minimum resolvable distance (MRD)
Assume noise = 10% S
MRD = 1.6 m
14
0.1*S
MRD = 1.6 m

## Slide 43: RESOLUTION IMPROVEMENT METRICS
Smallest detectable change in distance (Resolution)
LOD = noise/sensitivity
Sensitivity = slope of S
At 3 m separation
LOD = (0.1)*(0.44)/(0.12/m)
Resolution = 370 nm
Order or magnitude improvement over standard OCT
15
LOD at 3 m: = 370 nm

## Slide 44: SHG INCREASE
SHG intensity increases for compressed pulse
5

## Slide 45: OVERVIEW
Reconstruct ()
Apply set of known transfer functions to the pulse (SLM)
,
Apply transfer function to pulse
Measure second harmonic spectrum
Use measured spectra together with known transfer functions to reconstruct pulse
7

## Slide 46: PROCEDURE (Reconstruction)
Initial guess ()
For
- estimated object
- estimated SH spectrum
- update using measured spectrum
- update object using measured spectrum
- ptychography update step
- i2PIE update step
End result: reconstructed pulse
10

## Slide 47: TRANSFER FUNCTION
How to implement this?
Phase and amplitude modulation
Two screens (birefringent liquid crystals)
Polarizer after screen, transmission axis aligned with polarization of incoming light
14

## Slide 48: CUSTOM PULSE SHAPING (DETAILS)
6
Pulse in time
Angular frequency (ω)
Interpolate to SLM frequencies
Pulse in time
Angular frequency (ω)
Interpolate to SLM frequencies

## Slide 49: PULSE IN TIME DOMAIN
Fourier transform to see pulse in time domain
points
N linearly spaced points from
6
Wavelength
Angular frequency (ω)
Interpolate