## Slide 1: Prompt gamma imaging of a clinical proton beam using Cd Zn Te Compton cameras with a maximum likelihood expectation maximization technique
Josiah De Klerk
University of Cape Town
Department of Physics
Farshad Safavi, Jerimy Polf, Lei Ren, Sina Mossahebi, Steve Peterson

## Slide 2
Globally
2020
A leading cause of death with 10 million deaths 1 in 6 deaths
2022:
1,185,216 cancer cases with 763,843 deaths
100,000 new childhood cancer cases are being diagnosed annually in Africa.
Treatment
Africa
Surgery
Chemotherapy
Immunotherapy
Radiation Treatment
Cancer – A treatable problem

## Slide 3
To deliver a therapeutic dose to the tumor while minimizing radiation exposure to surrounding healthy tissues
Goal:
How:
Precise treatment planning and accurate dose delivery.
The Far Side – Gary Larson
100
60
10
Photons
Protons
Radiation treatment: Proton therapy

## Slide 4
Benefits
The low entry point and sharp distal fall-off
i.e., protons stop (Finite range)
To deliver a therapeutic dose to the tumor while minimizing radiation exposure to surrounding healthy tissues
Goal:
How:
Precise treatment planning and accurate dose delivery.
Radiation treatment: Proton therapy
The low-dose plateau with low energy transfer after the Bragg peak
Limitations
Beam range uncertainty: tissue density fluctuation, range straggling , large penumbra ….
Patient and organ movement

## Slide 5
Prompt Gamma Imaging (PGI)
A solution to proton range verification
During proton therapy, accelerated protons excite atomic nuclei, which promptly de-excite and emit prompt gamma rays.
J Jeyasugiththan et al 2021 BioMed Express, 7, 025013
200 MeV protons
on water target

## Slide 6
Prompt Gamma Imaging (PGI)
Compton Cameras
Scatterer
Absorber
137Cs point source using CORE algorithm from the UCT Polaris detector system
Each event in the Compton camera produces a
cone-of-origin.
The cones are overlapped to produce an image of the source location.
Notes: an apex (scatter location) an axis (scatter direction) a cosine of the cone's opening angle (derived from Compton kinematics)

## Slide 7
Room Temperature
Good Energy Resolution (0.8%
FWHM at 662 keV)
Compact
3D Gamma detection
UCT
Four 20×20×10 mm3 cadmium zinc telluride crystals
Each crystal arranged in a 2×2 array, pixelated in a 11×11 x- and y- direction and a z- direction depth of interaction
CdZnTe CC Detector Systems
UMMC Nozzle-mounted
D Xu et al – NIMA (2007) 574, 98–109
Notes: Talk about the UMMC Nozle mounted detectors here -> segway into the gamma-attenuation

## Slide 8
V Sharma et al 2025 IEEE Trans. Rad. Plas. Med. Sci., currently under review
Corrected
Reconstruction
In a nozzle-mounted detector system, reconstruction along the direction of the beam is challenging due to attenuation of the gammas as they travel through the patient.
Raw
Reconstruction
Gamma Attenuation
Direction
Monte Carlo Simulations of 200 MeV protons incident on water target of the Maryland Clinical System
Notes: Treatment room:
“”””””””””””””””””””
Before treatment begins, patients receive comprehensive treatment planning and assessment using advanced imaging techniques including computed tomography (CT) and magnetic resonance imaging (MRI). Before each treatment, patients can be checked using a volumetric CT scan in the treatment room, a feature unique to MPTC that further increases each treatment’s precision.
Useful sight - https://mdproton.com/what-makes-mptc-different/about-us/?utm_source=chatgpt.com
--
Information about the quad design”
- The nozzle-mounted design ensures fixed detector alignment relative to the proton beam axis during gantry rotation, providing
stable system geometry for PGI under clinical treatment
conditions.
-This design provides a compact and mechanically
stable geometry that preserves standard clinical beam delivery
while enabling prompt-gamma acquisition during irradiation
without introducing additional structures into the treatment
room. Mention here the goals of the measurements.
UCT400:
UCT M400 Detectors combined to support the goals and help correct something known as gamma-attentuation.

## Slide 9
Maryland Proton
Treatment Centre
in Baltimore
3
Using the UCT detector system to support the UMMC detector system
2
Investigate gamma-ray attenuation
and range shift.
150 MeV single-spot beam
Gantry 270°
80 nA · 60 kMU
Beam
Direction
Feasibility — Can the detector system reconstruct proton depth deposition?
1

## Slide 10
Quad CC System
UCT M400s
Data Acquisition
Image Recon. Pipeline
Filtration
• Scattering distance, angle
• Energy windowing
• Energy lost etc.
Image Algorithm
• SBP, SOE, Octane EM, KWPB
• 3D image source location
Image Analysis
• Region of Interest Extracted
• Generate 2D Slices &
1D Profiles
• Gaussian Fitting
• Estimate Source Position &
Peak Intensity
CORE Algorithm
Data Preprocessing
• Double events
• Binary Format Conversion
• Coordinate transformation
• Filtration
• Merging data

## Slide 11
UCT Detector Results

## Slide 12
UCT Detector Results
Expected Location
Beam
Direction
Experimental
Setup

## Slide 13
UCT Detector Results

## Slide 14
UCT Detector Results
Expected Location : (-148.0, 4.0, 356.0) mm

## Slide 15
UMMC Nozzle-mounted Results

## Slide 16
UMMC Nozzle-mounted Results
Beam
Direction
Experimental
Setup
Expected Location

## Slide 17
UMMC Nozzle-mounted Results
Notes: Putting the beam in context

## Slide 18
UMMC Nozzle-mounted Results
Expected Location : (-92.0, 4.0, 12.0) mm

## Slide 19
UMMC Nozzle-mounted Results

## Slide 20
UMMC Nozzle-mounted Results
Distance (Estimated - Actual)
92.87 mm
Notes: Insert max values hereThe introduction of a 10 mm range shift increased the localization error from 92.87 mm to 108.74 mm (≈17% increase), while the Gaussian FWHM remained largely unchanged. This indicates that the range shift primarily displaced the reconstructed source rather than degrading its spatial resolution.

## Slide 21
UMMC 10 mm Range Shift Results
Expected Location : (-108.0, -12.0, 4.0) mm

## Slide 22
UMMC 10 mm Range Shift Results
Distance (Estimated - Actual)
108.74 mm
Notes: Insert max values here

## Slide 23
Range Shift Comparisons
Notes: Insert max values hereThe introduction of a 10 mm range shift increased the localization error from 92.87 mm to 108.74 mm (≈17% increase), while the Gaussian FWHM remained largely unchanged. This indicates that the range shift primarily displaced the reconstructed source rather than degrading its spatial resolution.

## Slide 24
Conclusion
The Quad CdZnTe PGI detector system reconstructed proton depth distributions within a phantom.
1
Gamma attenuation in the nozzle-mounted detector geometry. Sensitivity to beam range changes through a10 mm proton range shift demonstrated
2
The UCT measurands may require further optimization before it can effectively support the UMMC measurements.
3
Future work
Optimize preprocessing, event filtering and image reconstruction algorithms.
1
Investigate CT-based attenuation correction to compensate for prompt gamma attenuation.
2
Investigate machine learning-based image reconstruction and attenuation correction.
3
Notes: Insert max values hereThe introduction of a 10 mm range shift increased the localization error from 92.87 mm to 108.74 mm (≈17% increase), while the Gaussian FWHM remained largely unchanged. This indicates that the range shift primarily displaced the reconstructed source rather than degrading its spatial resolution.

## Slide 25
Thank You !
Notes: Insert max values hereThe introduction of a 10 mm range shift increased the localization error from 92.87 mm to 108.74 mm (≈17% increase), while the Gaussian FWHM remained largely unchanged. This indicates that the range shift primarily displaced the reconstructed source rather than degrading its spatial resolution.